## salinity
RAS salinities measured by Val Latham on 29/4/10
Bags snipped for access. Probably large prime volume of 5 to 6mL
Salinity
Bottle | salinometer | Somma | difference ppt | sbe |  | salinometer Guildline direct from remaining approx 50mL |  |  | somma SBE - uncalibrated
2 | 33.422 | 33.189 | 0.233 | 34.5247 | 0.96806 | 435.6272 | 14.3728 | 0.96131 | 432.5903 | 17.4097
4 | 34.138 | 33.958 | 0.18 | 34.6631 | 0.98485 | 443.1831 | 6.8169 | 0.97966 | 440.8463 | 9.1537
6 | 33.814 | 33.577 | 0.237 | 34.6441 | 0.97604 | 439.2176 | 10.7824 | 0.9692 | 436.1392 | 13.8608
8 | 34.173 | 33.925 | 0.248 | 34.5663 | 0.98862 | 444.8798 | 5.1202 | 0.98145 | 441.6513 | 8.3487
10 | 33.533 | 33.327 | 0.206 | 34.5977 | 0.96923 | 436.1518 | 13.8482 | 0.96327 | 433.4725 | 16.5275
12 | 34.044 | 33.839 | 0.205 | 34.6948 | 0.98124 | 441.559 | 8.441 | 0.97533 | 438.9001 | 11.0999
14 | 33.062 | 32.9 | 0.162 | 34.9378 | 0.94631 | 425.8396 | 24.1604 | 0.94167 | 423.7531 | 26.2469
16 | 33.15 | 32.969 | 0.181 | 34.5358 | 0.95987 | 431.9431 | 18.0569 | 0.95463 | 429.5847 | 20.4153
18 | 33.106 | 32.928 | 0.178 | 34.7746 | 0.95202 | 428.4075 | 21.5925 | 0.9469 | 426.1041 | 23.8959
20
22 | 33.642 | 33.398 | 0.244 | 34.8174 | 0.96624 | 434.8085 | 15.1915 | 0.95923 | 431.6549 | 18.3451
24 | 34.178 | 33.96 | 0.218 | 34.8677 | 0.98022 | 441.0988 | 8.9012 | 0.97397 | 438.2853 | 11.7147
26 | 34.253 | 34.061 | 0.192 | 34.9285 | 0.98066 | 441.2972 | 8.7028 | 0.97516 | 438.8236 | 11.1764
28 | 34.373 | 34.208 | 0.165 | 34.9709 | 0.9829 | 442.3063 | 7.6937 | 0.97818 | 440.1831 | 9.8169
30 | 34.122 | 33.973 | 0.149 | 34.9316 | 0.97682 | 439.5705 | 10.4295 | 0.97256 | 437.651 | 12.349
32 | 34.269 | 34.087 | 0.182 | 34.894 | 0.98209 | 441.9399 | 8.0601 | 0.97687 | 439.5928 | 10.4072
34 | 34.056 | 33.914 | 0.142 | 34.8554 | 0.97707 | 439.6794 | 10.3206 | 0.97299 | 437.8461 | 12.1539
36 | 33.47 | 33.314 | 0.156 | 34.8443 | 0.96056 | 432.2515 | 17.7485 | 0.95608 | 430.2368 | 19.7632
38 | 34.027 | 33.868 | 0.159 | 34.7319 | 0.9797 | 440.867 | 9.133 | 0.97513 | 438.807 | 11.193
40 | 33.348 | 33.147 | 0.201 | 34.7563 | 0.95948 | 431.7663 | 18.2337 | 0.9537 | 429.1639 | 20.8361
42 | 33.526 | 33.357 | 0.169 | 34.7421 | 0.965 | 434.2484 | 15.7516 | 0.96013 | 432.0594 | 17.9406
44 | 33.201 | 33.045 | 0.156 | 34.7196 | 0.95626 | 430.3175 | 19.6825 | 0.95177 | 428.2955 | 21.7045
46 | 33.804 | 33.605 | 0.199 | 34.5542 | 0.97829 | 440.2301 | 9.7699 | 0.97253 | 437.6386 | 12.3614
48 | 33.467 | 33.299 | 0.168 | 34.811 | 0.96139 | 432.6262 | 17.3738 | 0.95657 | 430.4545 | 19.5455
|  | mean offset ppt | 0.18826
|  | stdevp ppt | 0.030731
|  | diff range ppt | 0.106

## summary
McLane RAS1 Artemis Pulse 6.
Deployment | SS04/2009
Recovery | SS02/2010
Ras water samples unloaded 24th march 2010.
Only tube 20 failed to fill, may have been the broken tube top? RAS logged low flow condition and stopped pumping.
368ml of acid remained in the acid wash bag.
Status
Odd numbered bags (no filters): preserved with glutaraldehyde prior to deployment, unloaded capped and stored at 4C for Simon Wright. Handed to Miguel 30th March. |  | not started
cells poorly preserved
Even numbered bags (QMA filters): preserved before deployment with mercuric chloride, final concentration 80uM (xul saturated soln). 10-20ml MQ added to displace air in the bags and tubes to prevent pinching and cracking.
This RAS had GFF filter holders, the filters were discarded.
2x10ml into nuts tubes for Hydrochemistry |  | done
DIC/alk to Bronte's group. |  | raw data only
Remainder to Hydrochemistry for salinity. |  | done
Seabird salinity for dilution calculation and correction DIC/alk |  | Downloaded by Tom?
Sample of green fouling scraped from the perspex top of the RAS, effervesces with dilute HCl. Sent to Miguel. |  | Coccolithus pelagicus
sem next.
Trapped cells rotting on GFF have compromised DIC, alk, nutient data. Filter holders removed. Some of the caps had been drilled to 1/8 for trace metals direct to bag.

## nuts
2x10ml samples squeezed out into nuts tubes immediately after unloading the RAS. Analysis SS transit to Fremantle, SS01/2010,hydrochemistry sheet S100305.xls.
mean seawater density at depth of RAS is 1.0267kg/L | [5 empty] | Nitrate (uM) |  | Phosphate (uM) |  | Silicate (uM) |  | NOx av | NOx diln corrn | NOx diln corrn | Phosphate av | phosphate diln corrn | phosphate | silicate av | silicate diln corrn | silicate |  | SBE density |  | alkalinity | alkalinity | TCO2 | TCO2
Tube Number | Nitrate (uM) | Phosphate (uM) | Silicate (uM) | Nitrite (uM) | N/P | mean | diff | mean |  | mean |  | uM | uM | umol/kg | uM | uM | umol/kg | uM | uM | umol/kg | sample |  |  | umol/kg | diln corrn | umol/kg | diln corrn
2 | 14.3885 | 1.1157 | 12.8819 | 0.14787 | 12.8966 | 14.3919 | 0.0033554 | 1.1613 | 0.045635 | 13.0516 | 0.16978 | 14.3919 | 14.8667 | 14.4769 | 1.1613 | 1.1996 | 1.1682 | 13.0516 | 13.4823 | 13.1288 | 2 | 1026.9225 | 1.0269 | 2191.86 | 2264.1766 | 2118.5784 | 2188.4771
2 | 14.3952 | 1.207 | 13.2214 | 0.17316 | 11.9269 | [6 empty] | 12.7202 | 12.9159 | 12.5771 | 1.0354 | 1.0513 | 1.0237 | 13.8996 | 14.1133 | 13.7431 | 4 | 1026.9404 | 1.0269 | 2218.83 | 2252.9593 | 2143.7184 | 2176.6924
4 | 12.7396 | 1.0398 | 13.7861 | 0.15843 | 12.2525 | 12.7202 | -0.019384 | 1.0354 | -0.0043575 | 13.8996 | 0.11346 | 10.9534 | 11.2223 | 10.9283 | 6.3158 | 6.4709 | 6.3014 | 14.4659 | 14.8211 | 14.4329 | 6 | 1026.8965 | 1.0269 | 2096.77 | 2148.2436 | 2026.1414 | 2075.8811
4 | 12.7009 | 1.031 | 14.013 | 0.16984 | 12.3184 | [6 empty] | 11.8654 | 12.0019 | 11.6876 | 2.4058 | 2.4334 | 2.3697 | 12.1438 | 12.2835 | 11.9618 | 8 | 1026.8947 | 1.0269 | 2086.68 | 2110.6958 | 2054.4727 | 2078.1178
6 | 10.9433 | 6.3458 | 14.6901 | 0.12913 | 1.7245 | 10.9534 | 0.010059 | 6.3158 | -0.029992 | 14.4659 | -0.22413 | 12.9019 | 13.3115 | 12.9631 | 1.2707 | 1.3111 | 1.2768 | 16.0486 | 16.5582 | 16.1248 | 10 | 1026.875 | 1.0269 | 2187.8 | 2257.2644 | 2086.4755 | 2152.7228
6 | 10.9634 | 6.2858 | 14.2418 | 0.1577 | 1.7442 | [6 empty] | 10.7525 | 10.9581 | 10.6715 | 0.98318 | 1.002 | 0.97577 | 15.4338 | 15.7288 | 15.3174 | 12 | 1026.8573 | 1.0269 | 2220.8 | 2263.2538 | 2110.0349 | 2150.3713
8 | 11.8697 | 2.4061 | 11.8442 | 0.17673 | 4.9333 | 11.8654 | -0.0043606 | 2.4058 | -0.00030396 | 12.1438 | 0.29957 | 7.6216 | 8.054 | 7.8433 | 1.1201 | 1.1837 | 1.1527 | 14.0306 | 14.8266 | 14.4389 | 14 | 1026.8535 | 1.0269 | 2123.04 | 2243.4924 | 2038.7364 | 2154.4058
8 | 11.861 | 2.4055 | 12.4434 | 0.16002 | 4.9309 | [6 empty] | 11.7614 | 12.2531 | 11.9334 | 0.92851 | 0.96732 | 0.94209 | 16.5108 | 17.201 | 16.7523 | 16 | 1026.7827 | 1.0268 |  |  | 2087.0958 | 2174.3446
10 | 12.8834 | 1.2792 | 16.2725 | 0.24254 | 10.0716 | 12.9019 | 0.018494 | 1.2707 | -0.008461 | 16.0486 | -0.22392 | 8.4113 | 8.8353 | 8.605 | 0.79261 | 0.83256 | 0.81085 | 19.2134 | 20.1818 | 19.6557 | 18 | 1026.7649 | 1.0268 | 2171.95 | 2281.4201 | 2073.6204 | 2178.1345
10 | 12.9204 | 1.2623 | 15.8247 | 0.25881 | 10.2359 | [15 empty] | 20 | 1026.7109 | 1.0267
12 | 10.7569 | 0.98743 | 16.0517 | 0.12935 | 10.8938 | 10.7525 | -0.0043902 | 0.98318 | -0.0042555 | 15.4338 | -0.61787 | 7.2853 | 7.5399 | 7.3435 | 6.3963 | 6.6197 | 6.4474 | 11.0134 | 11.3982 | 11.1014 | 22 | 1026.7332 | 1.0267 | 2104.63 | 2178.1626 | 2018.1582 | 2088.6696
12 | 10.7481 | 0.97892 | 14.8159 | 0.14198 | 10.9795 | [6 empty] | 6.4539 | 6.5842 | 6.413 | 0.72977 | 0.7445 | 0.72514 | 17.7137 | 18.0711 | 17.6012 | 24 | 1026.6993 | 1.0267 | 2236.15 | 2281.2747 | 2087.666 | 2129.7944
14 | 7.6052 | 1.1285 | 14.2549 | 0.18451 | 6.7391 | 7.6216 | 0.016331 | 1.1201 | -0.0083956 | 14.0306 | -0.22432 | 5.743 | 5.8563 | 5.7037 | 0.6732 | 0.68648 | 0.66859 | 16.9304 | 17.2643 | 16.8145 | 26 | 1026.7496 | 1.0267 | 2241.28 | 2285.4801 | 2078.5023 | 2119.4923
14 | 7.6379 | 1.1117 | 13.8063 | 0.18087 | 6.8702 | [6 empty] | 4.575 | 4.6546 | 4.5335 | 0.70684 | 0.71913 | 0.70042 | 19.0729 | 19.4047 | 18.8998 | 28 | 1026.7162 | 1.0267 | 2137.14 | 2174.3144 | 2064.1866 | 2100.092
16 | 11.743 | 0.92856 | 16.6222 | 0.15157 | 12.6466 | 11.7614 | 0.018336 | 0.92851 | -4.7677e-05 | 16.5108 | -0.11145 | 4.8814 | 4.9972 | 4.8672 | 8.2078 | 8.4025 | 8.1839 | 9.875 | 10.1093 | 9.8462 | 30 | 1026.7202 | 1.0267 | 2140.8 | 2191.594 | 2017.8981 | 2065.776
16 | 11.7797 | 0.92846 | 16.3994 | 0.15854 | 12.6874 | [6 empty] | 5.0424 | 5.1343 | 5.001 | 4.7878 | 4.8751 | 4.7486 | 9.3407 | 9.5111 | 9.2642 | 32 | 1026.6506 | 1.0267 | 2141.91 | 2180.9743 | 2035.5151 | 2072.639
18 | 8.4232 | 0.78847 | 19.2122 | 0.18046 | 10.683 | 8.4113 | -0.011856 | 0.79261 | 0.0041403 | 19.2134 | 0.0011523 | 5.352 | 5.4776 | 5.3356 | 4.6472 | 4.7563 | 4.633 | 14.0171 | 14.3461 | 13.9743 | 34 | 1026.6069 | 1.0266 | 2148.26 | 2198.6863 | 2034.5548 | 2082.3121
18 | 8.3995 | 0.79675 | 19.2145 | 0.17166 | 10.5422 | [6 empty] | 6.0037 | 6.2502 | 6.0883 | 1.8457 | 1.9215 | 1.8717 | 23.0293 | 23.9749 | 23.3536 | 36 | 1026.6027 | 1.0266 | 2156 | 2244.5268 | 1990.5472 | 2072.2803
22 | 7.2902 | 6.3913 | 11.1312 | 0.20576 | 1.1406 | 7.2853 | -0.0048884 | 6.3963 | 0.0049355 | 11.0134 | -0.11772 | 6.3475 | 6.479 | 6.3113 | 4.338 | 4.4278 | 4.3132 | 11.0822 | 11.3118 | 11.019 | 38 | 1026.5714 | 1.0266 | 2140.53 | 2184.873 | 2033.0542 | 2075.1707
22 | 7.2804 | 6.4012 | 10.8957 | 0.20209 | 1.1374 | [6 empty] | 5.5605 | 5.7953 | 5.6458 | 1.7821 | 1.8573 | 1.8094 | 12.2787 | 12.7972 | 12.4672 | 40 | 1026.4717 | 1.0265 | 2062.69 | 2149.7983 | 1992.0878 | 2076.2145
24 | 6.4801 | 0.76269 | 18.1063 | 0.19451 | 8.4964 | 6.4539 | -0.026163 | 0.72977 | -0.032916 | 17.7137 | -0.39266 | 5.7825 | 5.9922 | 5.8384 | 0.84417 | 0.87479 | 0.85233 | 17.1358 | 17.7574 | 17.3014 | 42 | 1026.3539 | 1.0264 | 2144.73 | 2222.5265 | 1999.8409 | 2072.3818
24 | 6.4278 | 0.69686 | 17.321 | 0.17421 | 9.224 | [6 empty] | 4.4324 | 4.6351 | 4.516 | 0.63826 | 0.66745 | 0.6503 | 20.9703 | 21.9295 | 21.366 | 44 | 1026.3722 | 1.0264 | 2134.78 | 2232.424 | 1990.2871 | 2081.322
26 | 5.7271 | 0.67023 | 17.0981 | 0.17876 | 8.5449 | 5.743 | 0.015973 | 0.6732 | 0.002972 | 16.9304 | -0.16775 | 6.0015 | 6.1347 | 5.9771 | 1.9646 | 2.0081 | 1.9565 | 14.2678 | 14.5845 | 14.2097 | 46 | 1026.377 | 1.0264 | 2141.67 | 2189.1993 | 2001.7416 | 2046.1656
26 | 5.759 | 0.67617 | 16.7626 | 0.20325 | 8.5171 | [6 empty] | 4.6094 | 4.7945 | 4.6709 | 3.0017 | 3.1222 | 3.0417 | 17.5443 | 18.2489 | 17.7784 | 48 | 1026.4623 | 1.0265 |  |  | 1983.9645 | 2063.6385
28 | 4.5735 | 0.71554 | 19.128 | 0.1631 | 6.3917 | 4.575 | 0.001539 | 0.70684 | -0.0087011 | 19.0729 | -0.055042
28 | 4.5766 | 0.69814 | 19.0179 | 0.15876 | 6.5554
30 | 4.8867 | 8.255 | 10.0552 | 0.18556 | 0.59197 | 4.8814 | -0.0052973 | 8.2078 | -0.047189 | 9.875 | -0.18019
30 | 4.8761 | 8.1606 | 9.6948 | 0.18422 | 0.59752
32 | 5.0476 | 4.796 | 9.5267 | 0.15795 | 1.0524 | 5.0424 | -0.0052157 | 4.7878 | -0.0082276 | 9.3407 | -0.18597
32 | 5.0371 | 4.7796 | 9.1547 | 0.14498 | 1.0539
34 | 5.3641 | 4.6733 | 14.5239 | 0.14067 | 1.1478 | 5.352 | -0.012126 | 4.6472 | -0.026045 | 14.0171 | -0.50673
34 | 5.3398 | 4.6212 | 13.5104 | 0.13497 | 1.1555
36 | 6.0085 | 1.8412 | 23.0841 | 0.14663 | 3.2634 | 6.0037 | -0.0048353 | 1.8457 | 0.0045536 | 23.0293 | -0.05481
36 | 5.9989 | 1.8503 | 22.9745 | 0.13268 | 3.2421
38 | 6.3451 | 4.3503 | 11.2227 | 0.11626 | 1.4585 | 6.3475 | 0.0024517 | 4.338 | -0.012311 | 11.0822 | -0.14048
38 | 6.35 | 4.3257 | 10.9417 | 0.11979 | 1.468
40 | 5.5583 | 1.7858 | 12.3908 | 0.10796 | 3.1125 | 5.5605 | 0.0021774 | 1.7821 | -0.0037472 | 12.2787 | -0.11207
40 | 5.5626 | 1.7783 | 12.1666 | 0.10084 | 3.128
42 | 5.7802 | 0.84563 | 17.1346 | 0.096477 | 6.8353 | 5.7825 | 0.002317 | 0.84417 | -0.0014628 | 17.1358 | 0.0011738
42 | 5.7848 | 0.84271 | 17.137 | 0.092636 | 6.8646
44 | 4.4306 | 0.64482 | 20.9689 | 0.10053 | 6.8711 | 4.4324 | 0.0017816 | 0.63826 | -0.0065612 | 20.9703 | 0.001352
44 | 4.4341 | 0.63169 | 20.9716 | 0.10573 | 7.0194
46 | 5.999 | 1.9597 | 14.3233 | 0.095723 | 3.0611 | 6.0015 | 0.0025076 | 1.9646 | 0.0048184 | 14.2678 | -0.055406
46 | 6.004 | 1.9694 | 14.2124 | 0.11689 | 3.0487
48 | 4.6146 | 3.022 | 18.727 | 0.16291 | 1.527 | 4.6094 | -0.0051384 | 3.0017 | -0.020388 | 17.5443 | -1.1827
48 | 4.6043 | 2.9813 | 16.3616 | 0.16689 | 1.5444
| nitrate uM | TCO2
1 | 14.3885 | 2118.5784
2 | 12.8 | 2145.2 | [5 empty] | 0.15748
3 | 10.9433 | 2026.1414
4 | 11.8697 | 2054.4727
5 | 12.8834 | 2086.4755
6 | 10.7569 | 2110.0349
7 | 7.6052 | 2038.7364
8 | 11.743 | 2087.0958
9 | 8.4232 | 2073.6204
10 | 7.2902 | 2018.1582
11 | 6.4801 | 2087.666
12 | 5.7271 | 2078.5023
13 | 4.5735 | 2064.1866
14 | 4.8867 | 2017.8981
15 | 5.0476 | 2035.5151
16 | 5.3641 | 2034.5548
17 | 6.0085 | 1990.5472
18 | 6.3451 | 2033.0542
19 | 5.5583 | 1992.0878
21 | 5.7802 | 1999.8409
22 | 4.4306 | 1990.2871
23 | 5.999 | 2001.7416 | 12.7396 | 2143.7184
24 | 4.6146 | 1983.9645 | 4.6146 | 1983.9645

## plots
2009-09-30 03:07 | 14.4769
2009-10-07 03:07 | 12.5771
2009-10-14 03:07 | 10.9283
2009-10-21 03:07 | 11.6876
2009-10-28 03:07 | 12.9631
2009-11-04 03:07 | 10.6715
2009-11-11 03:07 | 7.8433
2009-11-18 03:07 | 11.9334
2009-11-25 03:07 | 8.605
2009-12-02 03:07
2009-12-09 03:07 | 7.3435
2009-12-16 03:07 | 6.413
2009-12-23 03:07 | 5.7037
2009-12-30 03:07 | 4.5335
2010-01-06 03:07 | 4.8672
2010-01-13 03:07 | 5.001
2010-01-20 03:07 | 5.3356
2010-01-27 03:07 | 6.0883
2010-02-03 03:07 | 6.3113
2010-02-10 03:07 | 5.6458
2010-02-17 03:07 | 5.8384
2010-02-24 03:07 | 4.516
2010-03-03 03:07 | 5.9771
2010-03-10 03:07 | 4.6709
2010-03-18 10:38 | 6.5452
CTD data
SS04/2009 no data due to spooling issue with winch.
SURVEY_NAME | STATION_NO | START_TIME | END_TIME | MIN_DEPTH | MAX_DEPTH | BOTTTOM_DEPTH | BOTTOM_TIME | BOTTOM_LAT | BOTTOM_LON | END_LAT | END_LON | START_LAT | START_LON | PROJECT_NAME | MARLIN_ID | MARLIN_UUID | BOTTLE_NUMBER | PRESSURE | NITRATE | NITRATE_QC | PHOSPHATE | PHOSPHATE_QC | SILICATE | SILICATE_QC | ROSETTE_POSITION | ROSETTE_POSITION_QC | N/Si | N/P | 1/Si | NOx umol.kg-1
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 18 | 8.3 | 6.7 | 0 | 0.59 | 0 | 0.93 | 0 | 18 | 0 | 7.2043 | 11.3559 | 1.0753 | 6.5258
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 17 | 50.3 | 6.72 | 0 | 0.59 | 0 | 0.93 | 0 | 17 | 0 | 7.2258 | 11.3898 | 1.0753 | 6.5452
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 15 | 74.9 | 7.31 | 0 | 0.64 | 0 | 0.95 | 0 | 15 | 0 | 7.6947 | 11.4219 | 1.0526
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 14 | 99.9 | 10.33 | 0 | 0.77 | 0 | 2.27 | 0 | 14 | 0 | 4.5507 | 13.4156 | 0.44053
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 13 | 125.4 | 11.07 | 0 | 0.9 | 0 | 3.19 | 0 | 13 | 0 | 3.4702 | 12.3 | 0.31348
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 11 | 149.9 | 11.98 | 0 | 0.87 | 0 | 3.57 | 0 | 11 | 0 | 3.3557 | 13.7701 | 0.28011
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 9 | 199.9 | 13.16 | 0 | 0.94 | 0 | 3.65 | 0 | 9 | 0 | 3.6055 | 14 | 0.27397
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 8 | 299 | 14.73 | 0 | 1.04 | 0 | 4.07 | 0 | 8 | 0 | 3.6192 | 14.1635 | 0.2457
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 7 | 501.3 | 16.65 | 0 | 1.16 | 0 | 4.97 | 0 | 7 | 0 | 3.3501 | 14.3534 | 0.20121
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 5 | 600.1 | 18.86 | 0 | 1.29 | 0 | 6.84 | 0 | 5 | 0 | 2.7573 | 14.6202 | 0.1462
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 3 | 800.5 | 24.97 | 0 | 1.68 | 0 | 15.91 | 0 | 3 | 0 | 1.5695 | 14.8631 | 0.062854
SS2010_V02 | 2 | 2010-03-18 10:38 | 2010-03-18 10:38 | 0 | 998.1 | 4440.2 | 2010-03-18 10:38 |  |  | -46.3597 | 140.7564 | -46.3597 | 140.7564 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 1 | 998.1 | 29.27 | 0 | 1.96 | 0 | 28.12 | 0 | 1 | 0 | 1.0409 | 14.9337 | 0.035562
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 18 | 17.7 | 2.93 | 0 | 0.36 | 0 | 0.76 | 0 | 18 | 0 | 3.8553 | 8.1389 | 1.3158 | 2.8538
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 17 | 58.5 | 2.95 | 0 | 0.36 | 0 | 0.78 | 0 | 17 | 0 | 3.7821 | 8.1944 | 1.2821 | 2.8733
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 15 | 83.1 | 2.96 | 0 | 0.37 | 0 | 0.8 | 0 | 15 | 0 | 3.7 | 8 | 1.25
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 14 | 109.5 | 2.95 | 0 | 0.36 | 0 | 0.76 | 0 | 14 | 0 | 3.8816 | 8.1944 | 1.3158
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 11 | 133.8 | 6.95 | 0 | 0.58 | 0 | 1.28 | 0 | 11 | 0 | 5.4297 | 11.9828 | 0.78125
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 10 | 157.8 | 8.6 | 0 | 0.66 | 0 | 2.17 | 0 | 10 | 0 | 3.9631 | 13.0303 | 0.46083
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 9 | 208 | 9.89 | 0 | 0.75 | 0 | 2.91 | 0 | 9 | 0 | 3.3986 | 13.1867 | 0.34364
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 8 | 305 | 12.12 | 0 | 0.88 | 0 | 3.45 | 0 | 8 | 0 | 3.513 | 13.7727 | 0.28986
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 7 | 508 | 18.54 | 0 | 1.27 | 0 | 6.57 | 0 | 7 | 0 | 2.8219 | 14.5984 | 0.15221
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 5 | 609.3 | 21.28 | 0 | 1.42 | 0 | 9.91 | 0 | 5 | 0 | 2.1473 | 14.9859 | 0.10091
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 3 | 805.2 | 27.06 | 0 | 1.84 | 0 | 24.76 | 0 | 3 | 0 | 1.0929 | 14.7065 | 0.040388
SS2010_V02 | 3 | 2010-03-19 21:59 | 2010-03-19 21:59 | 0 | 1014.4 | 4544.4 | 2010-03-19 21:59 |  |  | -46.6571 | 141.9338 | -46.6571 | 141.9338 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 1 | 1014.4 | 31.21 | 0 | 2.12 | 0 | 45.24 | 0 | 1 | 0 | 0.68988 | 14.7217 | 0.022104
Underway?
SS2010_V02 | 25 | 2010-03-20 04:42 | 2010-03-20 04:42 | 0 | 0 |  | 2010-03-20 04:42 |  |  |  |  | -46.493 | 142.2928 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 2.09 | 0 | 0.31 | 0 | 0.53 | 0 | 0 | 0 | 3.9434 | 6.7419 | 1.8868
SS2010_V02 | 26 | 2010-03-20 07:45 | 2010-03-20 07:45 | 0 | 0 |  | 2010-03-20 07:45 |  |  |  |  | -46.2437 | 142.8576 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 2.37 | 0 | 0.32 | 0 | 0.55 | 0 | 0 | 0 | 4.3091 | 7.4062 | 1.8182
SS2010_V02 | 27 | 2010-03-20 10:45 | 2010-03-20 10:45 | 0 | 0 |  | 2010-03-20 10:45 |  |  |  |  | -45.9057 | 143.4692 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 3.6 | 0 | 0.38 | 0 | 0.7 | 0 | 0 | 0 | 5.1429 | 9.4737
SS2010_V02 | 28 | 2010-03-20 14:04 | 2010-03-20 14:04 | 0 | 0 |  | 2010-03-20 14:04 |  |  |  |  | -45.5438 | 144.126 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 1.25 | 0 | 0.22 | 0 | 0.81 | 0 | 0 | 0 | 1.5432 | 5.6818
SS2010_V02 | 29 | 2010-03-20 17:57 | 2010-03-20 17:57 | 0 | 0 |  | 2010-03-20 17:57 |  |  |  |  | -45.1278 | 144.9032 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 1.59 | 0 | 0.24 | 0 | 0.65 | 0 | 0 | 0 | 2.4462 | 6.625
SS2010_V02 | 30 | 2010-03-20 21:58 | 2010-03-20 21:58 | 0 | 0 |  | 2010-03-20 21:58 |  |  |  |  | -44.6853 | 145.6833 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 0.99 | 0 | 0.2 | 0 | 0.51 | 0 | 0 | 0 | 1.9412 | 4.95
SS2010_V02 | 31 | 2010-03-21 01:00 | 2010-03-21 01:00 | 0 | 0 |  | 2010-03-21 01:00 |  |  |  |  | -44.376 | 146.2707 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 1.6 | 0 | 0.27 | 0 | 0.53 | 0 | 0 | 0 | 3.0189 | 5.9259
SS2010_V02 | 32 | 2010-03-21 03:56 | 2010-03-21 03:56 | 0 | 0 |  | 2010-03-21 03:56 |  |  |  |  | -44.27 | 146.3986 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 0.41 | 0 | 0.17 | 0 | 0.46 | 0 | 0 | 0 | 0.8913 | 2.4118
SS2010_V02 | 33 | 2010-03-21 06:59 | 2010-03-21 06:59 | 0 | 0 |  | 2010-03-21 06:59 |  |  |  |  | -44.0164 | 146.6582 | SOTS: Southern Ocean Time Series automated moorings for climate and carbon cycle studies southwest of Tasmania | 8942 | bc1b3741-e460-5039-e044-00144f7bc0f4 | 0 | 0 | 0.29 | 0 | 0.15 | 0 | 0.35 | 0 | 0 | 0 | 0.82857 | 1.9333

## DIC-alk
RAS even numbers: DIC/alk
SS02-2010
Samples are preserved with mercuric chloride and air displaced.
Stored at 4C, allowed to warm to room temperature.
Bottles rinsed with 2x20ml aliquots of sample.
Prepd 250ml Schott bottle filled to just above the ridge the cap fits against.
DIC/alk analyses both from the Soma bottle.
Remaining bag contents retained for salts by Val (about 90ml).
Sample bag | Salinity | Corrected Alkalinity | Flag | Corrected TCO2 | Flag |  | Salinometer | SOMMA | difference
# | SOMMA | umol/kg |  | umol/kg |  |  | Salinity | Salinity
2 | 33.189 | 2191.8592 | 2 | 2118.5784 | 2 |  | 33.422 | 33.189 | 0.233
4 | 33.958 | 2218.8339 | 2 | 2143.7184 | 2 |  | 34.138 | 33.958 | 0.18
6 | 33.577 | 2096.7699 | 2 | 2026.1414 | 2 |  | 33.814 | 33.577 | 0.237
8 | 33.925 | 2086.6811 | 2 | 2054.4727 | 2 |  | 34.173 | 33.925 | 0.248
10 | 33.327 | 2187.8036 | 2 | 2086.4755 | 2 |  | 33.533 | 33.327 | 0.206
12 | 33.839 | 2220.7964 | 2 | 2110.0349 | 2 |  | 34.044 | 33.839 | 0.205
14 | 32.9 | 2123.0418 | 2 | 2038.7364 | 2 |  | 33.062 | 32.9 | 0.162
16 | 32.969 |  | 9 | 2087.0958 | 2 |  | 33.15 | 32.969 | 0.181
18 | 32.928 | 2171.9547 | 2 | 2073.6204 | 2 |  | 33.106 | 32.928 | 0.178
22 | 33.398 | 2104.6256 | 2 | 2018.1582 | 2 |  | 33.642 | 33.398 | 0.244
24 | 33.96 | 2236.1466 | 2 | 2087.666 | 2 |  | 34.178 | 33.96 | 0.218
26 | 34.061 | 2241.2848 | 2 | 2078.5023 | 2 |  | 34.253 | 34.061 | 0.192
28 | 34.208 | 2137.1386 | 2 | 2064.1866 | 2 |  | 34.373 | 34.208 | 0.165
30 | 33.973 | 2140.8041 | 2 | 2017.8981 | 2 |  | 34.122 | 33.973 | 0.149
32 | 34.087 | 2141.9058 | 2 | 2035.5151 | 2 |  | 34.269 | 34.087 | 0.182
34 | 33.914 | 2148.2622 | 2 | 2034.5548 | 2 |  | 34.056 | 33.914 | 0.142
36 | 33.314 | 2156.0013 | 2 | 1990.5472 | 2 |  | 33.47 | 33.314 | 0.156
38 | 33.868 | 2140.5315 | 2 | 2033.0542 | 2 |  | 34.027 | 33.868 | 0.159
40 | 33.147 | 2062.6854 | 2 | 1992.0878 | 2 |  | 33.348 | 33.147 | 0.201
42 | 33.357 | 2144.7347 | 2 | 1999.8409 | 2 |  | 33.526 | 33.357 | 0.169
44 | 33.045 | 2134.777 | 2 | 1990.2871 | 2 |  | 33.201 | 33.045 | 0.156
46 | 33.605 | 2141.6698 | 2 | 2001.7416 | 2 |  | 33.804 | 33.605 | 0.199
48 | 33.299 |  | 9 | 1983.9645 | 2 |  | 33.467 | 33.299 | 0.168
9=no result
See the original file from Kate when the CTD salinities are available. This has an assumed an depth 0db and the RAS was at 50 (?).
RAS_ALK_TCO2_SS_Feb_10.xls
Really need the RAS seabird CTD data to make any progress here.
Sample | Date_Time | CTD | Rosette | Depth | Salinity | Corrected Alkalinity | Flag | Corrected TCO2 | Flag | Salinometer | SOMMA | difference
type | yyyymmdd_hhmm | no | no | db | SOMMA | umol/kg |  | umol/kg |  | Salinity | Salinity
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 2 | 0 | 33.189 | 2191.8592 | 2 | 2118.5784 | 2 | 33.422 | 33.189 | 0.233
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 4 | 0 | 33.958 | 2218.8339 | 2 | 2143.7184 | 2 | 34.138 | 33.958 | 0.18
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 6 | 0 | 33.577 | 2096.7699 | 2 | 2026.1414 | 2 | 33.814 | 33.577 | 0.237
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 8 | 0 | 33.925 | 2086.6811 | 2 | 2054.4727 | 2 | 34.173 | 33.925 | 0.248
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 10 | 0 | 33.327 | 2187.8036 | 2 | 2086.4755 | 2 | 33.533 | 33.327 | 0.206
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 12 | 0 | 33.839 | 2220.7964 | 2 | 2110.0349 | 2 | 34.044 | 33.839 | 0.205
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 14 | 0 | 32.9 | 2123.0418 | 2 | 2038.7364 | 2 | 33.062 | 32.9 | 0.162
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 16 | 0 | 32.969 |  | 9 | 2087.0958 | 2 | 33.15 | 32.969 | 0.181
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 18 | 0 | 32.928 | 2171.9547 | 2 | 2073.6204 | 2 | 33.106 | 32.928 | 0.178
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 22 | 0 | 33.398 | 2104.6256 | 2 | 2018.1582 | 2 | 33.642 | 33.398 | 0.244
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 24 | 0 | 33.96 | 2236.1466 | 2 | 2087.666 | 2 | 34.178 | 33.96 | 0.218
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 26 | 0 | 34.061 | 2241.2848 | 2 | 2078.5023 | 2 | 34.253 | 34.061 | 0.192
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 28 | 0 | 34.208 | 2137.1386 | 2 | 2064.1866 | 2 | 34.373 | 34.208 | 0.165
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 30 | 0 | 33.973 | 2140.8041 | 2 | 2017.8981 | 2 | 34.122 | 33.973 | 0.149
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 32 | 0 | 34.087 | 2141.9058 | 2 | 2035.5151 | 2 | 34.269 | 34.087 | 0.182
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 34 | 0 | 33.914 | 2148.2622 | 2 | 2034.5548 | 2 | 34.056 | 33.914 | 0.142
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 36 | 0 | 33.314 | 2156.0013 | 2 | 1990.5472 | 2 | 33.47 | 33.314 | 0.156
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 38 | 0 | 33.868 | 2140.5315 | 2 | 2033.0542 | 2 | 34.027 | 33.868 | 0.159
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 40 | 0 | 33.147 | 2062.6854 | 2 | 1992.0878 | 2 | 33.348 | 33.147 | 0.201
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 42 | 0 | 33.357 | 2144.7347 | 2 | 1999.8409 | 2 | 33.526 | 33.357 | 0.169
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 44 | 0 | 33.045 | 2134.777 | 2 | 1990.2871 | 2 | 33.201 | 33.045 | 0.156
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 46 | 0 | 33.605 | 2141.6698 | 2 | 2001.7416 | 2 | 33.804 | 33.605 | 0.199
SS02_2010 RAS | 1/03/2010 0:00 | -999 | 48 | 0 | 33.299 |  | 9 | 1983.9645 | 2 | 33.467 | 33.299 | 0.168
9=no result

## service
After unloading samples and data the RAS was soaked for days in a tank of fresh water.
The perspex tubes, caps filter holders and connecting tubing were washed by hand after soaking in domestic detergent.
Mclane recommends dry storage so the pump was rinsed through and dried. Blow compressed air though the distribution valve when clean? |  |  |  |  | xrate= | 0.926
Pump: |  | Status | Mclane spares: delivery 6 eweeks | order | $USD |  | other supplier
Dow Corning 200 fluid (5 cst): top up needed |  | Stevo sent link for supply. | Lindsay Mcdonnel…checking
Graphite cam |  | in pump service kit
Pump service kit? |  | received 1 | MP125-KIT, 125ml/min Micropump service kit, $255 USD ea | 1 | 255 | 275.378
|  |  | contains two gears, cam, spring and seals and instructions. |  |  | 0
Sampler: | [5 empty] | 0
Blue filter holders: 6 broken. Mclane modify them. |  | received 4 | 47mm FH for cap (cap not included), $142 USD each | 4 | 142 | 613.3909 | Imbros Advantec # 400303020 PP-47 Filter Holder $ 136.00 ea + GST delivery 8 to 9 weeks | John Morris $80 2-3 weeks.
In line filter holder: order a spare, MFS-Advantec |  |  | no push fit holder? These come is packs of 6. |  |  | 0 | Cole Parmer (John Morris) @ $80 each 3weeks
Rigid bag tubes: one broken, order from Mclane. |  | received 2 | RAS-TUBE-500, 500ml Acrylic Tube (no cap), $170 USD each | 2 | 170 | 367.1706
Tube tops: two fractured. Order spares from Mclane |  | received 3 | Filter caps for 500ml tube includes filter holder, $277 USD each | 3 | 277 | 897.4082
Tedlar bags: order new set. With valves or black caps? |  | received 2 sets (100) | TED-500-JACO, 500ml bag w/JACO, $18.82 USD ea | 100 | 18.82 | 2032.3974
Distibution valve: flushed OK MQ top and bottom, order bungs for it. | [5 empty] | 0
Tie down bar: one cracked, another with crazed hole. Source locally? |  | welded with methylene chloride but an ABS replica would be stronger. Silicone washers to reduce vibration? |  |  |  | 0
Tubes: more ferrules, adaptors, connectors, nuts |  | received 50 ferrules |  | 50 | 1.5 | 80.9935
|  | received 50 bungs |  | 50 | 1 | 53.9957
Filters and sieves: still plenty of GFF's? |  | need to check |  |  |  | 0
Filter holders: white gunk to put the holders on the caps? |  | use teflon tape |  |  |  | 0
"o" set for controller Al housing. |  | received 1 set | O-ring kit for AL housing, $7.25 USD per kit | 1 | 7.25 | 7.8294
If we are going to need tubes without filters how about we order the correct tops? |  | No, Andy is unlikely to be ready so use blue holders without filters. Mark the tops that were drilled for Andy. |  |  |  | 0
make up something to connect bottom of valve to top for flushing |  | done |  |  |  | 0
Batteries | [5 empty] | 0
Main Battery: have battery world make up a replacement. |  | No batteries in the controller at present, stored. |  |  |  | 0
Data Backup: Duracell 9V alkaline |  | No batteries in the controller at present, stored. |  |  |  | 0
0
Anodes: still plenty of zinc. |  | no action |  |  |  | 0
Laptop with crosscut and RS232 port /adaptor |  | Andy is scouting for old laptops or alternatively compatibility of cheaper net books.
[6 empty] | 4328.5637 | total $AUD
put it on Kate's card as she has a $5000 transaction limit
Note: Miguel has the missing tubes and tags. | [5 empty] | Marian McGowen will provide IMOS sots code.
Comms cable in filing cabinet beside Joes desk.
There are plenty of fittings still on the used bags.
Plumbing
Bottom tubes: 6.5mm od 3.36 id
Bottom tube wall connectors: CPC polypropylene SMPT0212 1/8npt? | www.colder.com
Bottom barb connectors:
Top tubes:
1/8 od 1/16 id PFA tube 10' pn 15092….od variable 3.18mm
Ferrules 1/8" pp 300psi push fit.
Note on A36: Di: mostly out of Cole Parmer catalogue. John Morris agent.

## phytoplankton
Odd numbered Glutaraldehyde preserved samples to Simon and Miguel.
Dried carbonate fouling from RAS stainless steel frame, inside the shroud, also sent. Lots of coccoliths stuck in bacterial biofilm as water flow moved through the RAS?
Flagellates have shed cilia so preservation problem? The bags contain generally 430 to 450ml. Preservation should be OK @ 1-2% equivalent to 20ml of 25% soln.
These bags had 5ml of 25% glutaraldehyde whereas a minimum required for preservation would be 18ml.
Result of underpreservation was exploded cytosol looking like raspberries, no id possible, abandoned by Miguel de Salas.
Abandoned samples found by Ruth ..plenty of very nicely preserved diatoms and armoured dinoflagellates in there. Will hang onto them for the diatoms at least.
TT 04 2010 1.
TT 4.2010 3.
TT 4.10 5.
TT 4.10 #7
TT 4.10 9.
TT 4.10 11.

## logs
RAS start times |  |  | estimate of sample collected kg. | RAS sampling log, Times in UTC
2009-09-30 02:07 | phyto | 1 | 0.46202
2009-09-30 03:07 | nutrient | 2 | 0.46202 | Start time: 09/30/2009 02:06:51
2009-10-07 02:07 | phyto | 3 | 0.46202 | Volume pumped: 450 ml
2009-10-07 03:07 | nutrient | 4 | 0.46202 | Elapsed time: 361 sec
2009-10-14 02:07 | phyto | 5 | 0.46202 | Volume reached.
2009-10-14 03:07 | nutrient | 6 | 0.46202 | Lowest battery: 31.8 V
2009-10-21 02:07 | phyto | 7 | 0.46202 | Start temp: 9.0 C
2009-10-21 03:07 | nutrient | 8 | 0.46202 | Port used: 01
2009-10-28 02:07 | phyto | 9 | 0.46202 | Stop time: 09/30/2009 02:12:58
2009-10-28 03:07 | nutrient | 10 | 0.46202
2009-11-04 02:07 | phyto | 11 | 0.46202
2009-11-04 03:07 | nutrient | 12 | 0.46202
2009-11-11 02:07 | phyto | 13 | 0.46202
2009-11-11 03:07 | nutrient | 14 | 0.46202
2009-11-18 02:07 | phyto | 15 | 0.46202
2009-11-18 03:07 | nutrient | 16 | 0.46202
2009-11-25 02:07 | phyto | 17 | 0.46202
2009-11-25 03:07 | nutrient | 18 | 0.46202
2009-12-02 02:07 | phyto | 19 | 0.46202
2009-12-02 03:07 | nutrient | 20 | 0.46202
2009-12-09 02:07 | phyto | 21 | 0.46202
2009-12-09 03:07 | nutrient | 22 | 0.46202
2009-12-16 02:07 | phyto | 23 | 0.46202
2009-12-16 03:07 | nutrient | 24 | 0.46202
2009-12-23 02:07 | phyto | 25 | 0.46202
2009-12-23 03:07 | nutrient | 26 | 0.46202
2009-12-30 02:07 | phyto | 27 | 0.46202
2009-12-30 03:07 | nutrient | 28 | 0.46202
2010-01-06 02:07 | phyto | 29 | 0.46202
2010-01-06 03:07 | nutrient | 30 | 0.46202
2010-01-13 02:07 | phyto | 31 | 0.46202
2010-01-13 03:07 | nutrient | 32 | 0.46202
2010-01-20 02:07 | phyto | 33 | 0.46202
2010-01-20 03:07 | nutrient | 34 | 0.46202
2010-01-27 02:07 | phyto | 35 | 0.46202
2010-01-27 03:07 | nutrient | 36 | 0.46202
2010-02-03 02:07 | phyto | 37 | 0.46202
2010-02-03 03:07 | nutrient | 38 | 0.46202
2010-02-10 02:07 | phyto | 39 | 0.46202
2010-02-10 03:07 | nutrient | 40 | 0.46202
2010-02-17 02:07 | phyto | 41 | 0.46202
2010-02-17 03:07 | nutrient | 42 | 0.46202
2010-02-24 02:07 | phyto | 43 | 0.46202
2010-02-24 03:07 | nutrient | 44 | 0.46202
2010-03-03 02:07 | phyto | 45 | 0.46202
2010-03-03 03:07 | nutrient | 46 | 0.46202
2010-03-10 02:07 | phyto | 47 | 0.46202
2010-03-10 03:07 | nutrient | 48 | 0.46202

## netCDF
deployment year start | site | depth_nominal | remoteaccesssampler | metadata |  | sample | sample_qc | pressurerel | pressurerel_qc | temperature | temperature_qc | salinity | salinity_qc | time | weight | weight_qc | NOxconcentration | NOx_qc | phosphateconcentration | phosphate_qc | silicateconcentration | silicate_qc | totalalkalinity | totalalkalinity_qc | totalcarbondioxide | totalcarbondioxide_qc
deployment | Pulse6 |  |  | standard_name |  |  |  | sea_water_pressure_due_to_sea_water |  | sea_water_temperature |  | sea_water_practical_salinity |  |  |  |  | moles_of_nitrate_and_nitrite_per_unit_mass_in_sea_water |  | moles_of_phosphate_per_unit_mass_in_sea_water |  | moles_of_silicate_per_unit_mass_in_sea_water |  | moles_of_alkalinity_per_unit_mass_in_sea_water |  | moles_of_inorganic_carbon_per_unit_mass_in_sea_water
SS2009_V04 |  | depth nominal |  | long_name |  | sample number |  | sea_water_pressure_due_to_sea_water |  | sea_water_temperature |  | sea_water_practical_salinity |  | time of sample start | sample mass |  | moles_of_nitrate_and_nitrite_per_unit_mass_in_sea_water |  | moles_of_phosphate_per_unit_mass_in_sea_water |  | moles_of_silicate_per_unit_mass_in_sea_water |  | moles_of_alkalinity_per_unit_mass_in_sea_water |  | moles_of_inorganic_carbon_per_unit_mass_in_sea_water
Pulse-6-2009 |  | m |  | units |  | sampler position |  | dbar |  | degree_Celsius |  | 1 |  | yyyy/mm/dd hh:mm:ss | kg |  | umol.kg-1 |  | umol.kg-1 |  | umol.kg-1 |  | umol.kg-1 |  | umol.kg-1
|  | nominal |  | uncertainty | +/- 95% ci |  |  | 3 |  | 0.005 |  | 0.00054 |  |  | 0.05 |  | 0.02 |  | 0.03 |  | 0.8 |  | 2.8 |  | 1.5
|  |  |  | comment | sample pairs: nutrients and separate sample for phytoplankton reported elsewhere (SOTS Phytoplankton abundance and biovolume). | [8 empty] | UTC
|  |  |  | comment_method | silicate and phosphate compromised by GFF filters |  |  | Sea-Bird Electronics-SBE16plusV2 SN6331 |  | Sea-Bird Electronics-SBE16plusV2 SN6331 |  | Sea-Bird Electronics-SBE16plusV2 SN6331 |  |  | collected sample mass estimated from the pump log. |  | Lachet 8000 FIA |  | Lachet 8000 FIA |  | Lachet 8000 FIA |  | potentiometric |  | coulometric
comment_sample
|  |  |  | comment_QC_report | Davies, Diana M., Jansen, Peter, Trull, Thomas W. IMOS - ABOS Southern Ocean Time Series (SOTS) - Quality Assessment and Control Report - Remote Access Sampler: Sample Analysis http://dx.doi.org/10.26198/5e156a63a8f75
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 2 | 1 | 32.0029 | 1 | 8.806 | 1 | 34.5247 | 1 | 2009-09-30 03:07 | 0.46 | 2 | 14.4769 | 1 | 1.1682 | 3 | 13.1288 | 4 | 2264.1766 | 1 | 2188.4771 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 4 | 1 | 33.3723 | 1 | 9.4025 | 1 | 34.6631 | 1 | 2009-10-07 03:07 | 0.46 | 2 | 12.5771 | 1 | 1.0237 | 3 | 13.7431 | 4 | 2252.9593 | 1 | 2176.6924 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 6 | 1 | 33.3485 | 1 | 9.5772 | 1 | 34.6441 | 1 | 2009-10-14 03:07 | 0.46 | 2 | 10.9283 | 1 | 6.3014 | 4 | 14.4329 | 4 | 2148.2436 | 1 | 2075.8811 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 8 | 1 | 34.8597 | 1 | 9.2608 | 1 | 34.5663 | 1 | 2009-10-21 03:07 | 0.46 | 2 | 11.6876 | 1 | 2.3697 | 4 | 11.9618 | 4 | 2110.6958 | 1 | 2078.1178 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 10 | 1 | 33.3673 | 1 | 9.4882 | 1 | 34.5977 | 1 | 2009-10-28 03:07 | 0.46 | 2 | 12.9631 | 1 | 1.2768 | 3 | 16.1248 | 4 | 2257.2644 | 1 | 2152.7228 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 12 | 1 | 33.4128 | 1 | 10.0438 | 1 | 34.6948 | 1 | 2009-11-04 03:07 | 0.46 | 2 | 10.6715 | 1 | 0.97577 | 3 | 15.3174 | 4 | 2263.2538 | 1 | 2150.3713 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 14 | 1 | 33.6739 | 1 | 11.1385 | 1 | 34.9378 | 1 | 2009-11-11 03:07 | 0.46 | 2 | 7.8433 | 1 | 1.1527 | 3 | 14.4389 | 4 | 2243.4924 | 1 | 2154.4058 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 16 | 1 | 33.3704 | 1 | 9.7517 | 1 | 34.5358 | 1 | 2009-11-18 03:07 | 0.46 | 2 | 11.9334 | 1 | 0.94209 | 3 | 16.7523 | 4 | NaN | 9 | 2174.3446 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 18 | 1 | 34.0101 | 1 | 10.9353 | 1 | 34.7746 | 1 | 2009-11-25 03:07 | 0.46 | 2 | 8.605 | 1 | 0.81085 | 3 | 19.6557 | 4 | 2281.4201 | 1 | 2178.1345 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 20 | 9 | 33.8167 | 1 | 11.4655 | 1 | 34.8315 | 1 | 2009-12-02 03:07 | NaN | 9 | NaN | 9 | NaN | 9 | NaN | 9 | NaN | 9 | NaN | 9
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 22 | 1 | 34.1062 | 1 | 11.2942 | 1 | 34.8174 | 1 | 2009-12-09 03:07 | 0.46 | 2 | 7.3435 | 1 | 6.4474 | 4 | 11.1014 | 4 | 2178.1626 | 1 | 2088.6696 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 24 | 1 | 35.8814 | 1 | 11.7262 | 1 | 34.8677 | 1 | 2009-12-16 03:07 | 0.46 | 2 | 6.413 | 1 | 0.72514 | 3 | 17.6012 | 4 | 2281.2747 | 1 | 2129.7944 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 26 | 1 | 40.1194 | 1 | 11.8116 | 1 | 34.9285 | 1 | 2009-12-23 03:07 | 0.46 | 2 | 5.7037 | 1 | 0.66859 | 3 | 16.8145 | 4 | 2285.4801 | 1 | 2119.4923 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 28 | 1 | 35.523 | 1 | 12.05 | 1 | 34.9709 | 1 | 2009-12-30 03:07 | 0.46 | 2 | 4.5335 | 1 | 0.70042 | 3 | 18.8998 | 4 | 2174.3144 | 1 | 2100.092 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 30 | 1 | 39.9048 | 1 | 11.973 | 1 | 34.9316 | 1 | 2010-01-06 03:07 | 0.46 | 2 | 4.8672 | 1 | 8.1839 | 4 | 9.8462 | 4 | 2191.594 | 1 | 2065.776 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 32 | 1 | 39.1808 | 1 | 12.1657 | 1 | 34.894 | 1 | 2010-01-13 03:07 | 0.46 | 2 | 5.001 | 1 | 4.7486 | 4 | 9.2642 | 4 | 2180.9743 | 1 | 2072.639 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 34 | 1 | 36.7286 | 1 | 12.1801 | 1 | 34.8554 | 1 | 2010-01-20 03:07 | 0.46 | 2 | 5.3356 | 1 | 4.633 | 4 | 13.9743 | 4 | 2198.6863 | 1 | 2082.3121 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 36 | 1 | 35.5881 | 1 | 12.1307 | 1 | 34.8443 | 1 | 2010-01-27 03:07 | 0.46 | 2 | 6.0883 | 1 | 1.8717 | 4 | 23.3536 | 4 | 2244.5268 | 1 | 2072.2803 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 38 | 1 | 35.7512 | 1 | 11.8426 | 1 | 34.7319 | 1 | 2010-02-03 03:07 | 0.46 | 2 | 6.3113 | 1 | 4.3132 | 4 | 11.019 | 4 | 2184.873 | 1 | 2075.1707 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 40 | 1 | 35.756 | 1 | 12.4568 | 1 | 34.7563 | 1 | 2010-02-10 03:07 | 0.46 | 2 | 5.6458 | 1 | 1.8094 | 4 | 12.4672 | 4 | 2149.7983 | 1 | 2076.2145 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 42 | 1 | 35.5452 | 1 | 12.9905 | 1 | 34.7421 | 1 | 2010-02-17 03:07 | 0.46 | 2 | 5.8384 | 1 | 0.85233 | 3 | 17.3014 | 4 | 2222.5265 | 1 | 2072.3818 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 44 | 1 | 36.0032 | 1 | 12.8225 | 1 | 34.7196 | 1 | 2010-02-24 03:07 | 0.46 | 2 | 4.516 | 1 | 0.6503 | 3 | 21.366 | 4 | 2232.424 | 1 | 2081.322 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 46 | 1 | 35.7898 | 1 | 12.1392 | 1 | 34.5542 | 1 | 2010-03-03 03:07 | 0.46 | 2 | 5.9771 | 1 | 1.9565 | 4 | 14.2097 | 4 | 2189.1993 | 1 | 2046.1656 | 3
2009 |  | 32 | RAS3-48-500 serial no: 11906-01 Artemis |  |  | 48 | 1 | 35.8146 | 1 | 12.7214 | 1 | 34.811 | 1 | 2010-03-10 03:07 | 0.46 | 2 | 4.6709 | 1 | 3.0417 | 4 | 17.7784 | 4 | NaN | 9 | 2063.6385 | 3